QP Code: BAT301

B. Sc Anaesthesia Technology 3rd Year

# (BF/2022/10)

#### Introduction Anaesthesia Technology

###### M.M.: 80								      Time: 3 Hours

Note:	1.)	Attempt all questions.

2.)	ATTEMPT BOTH PARTS IN SINGLE ANSWER BOOK ONLY.

3.)	NO SUPPLEMENTRAY SHEET SHALL BE ALLOWED/ PROVIDED

4.)	The Student must write Q.P. Code in the space provided on the Title page of the Answer Book.

Section-A

1.	Write about the following. (All the five questions are compulsory)												  		     [5x5=25]

a.	States of matter

b.	Diameter index safety system

c.	Hanger and Yoke system

d.	Parts of airway and its uses

e.	Jackson Rees system (Breathing system)

2.	Attempt any one. Both questions carry equal marks.

a.	Describe intermediate pressure system of anaesthesia machine & detail about oxygen pressure failure devices.						[15]

OR

b.	Write in detail about types of filling system of vaporisers.			[15]

Section -B

3.	Write about the following. (All the five questions are compulsory)												    		    [5x5=25]

a.	Hazards of O2 therapy

b.	Cylinder pressure gauge

c.	Capnography

d.	Clinical signs of hypoxaemia

e.	Modern anaesthetic era

4.	Attempt any one. Both questions carry equal marks.

a.	Define sterilization. Write about Gas sterilization in detail.			[15]

OR

b.	Write in detail about Mapleson A breathing system and its functional analysis in spontaneous and control ventilation.						[15]

---------------------