QP Code: BRT301

B. Sc Radiotherapy Technology 3rd Year

# (BF/2022/10)

#### Radiotherapy Planning & Techniques (Brachytherapy)

###### M.M.: 80								      Time: 3 Hours

Note:	1.)	Attempt all questions.

2.)	ATTEMPT BOTH PARTS IN SINGLE ANSWER BOOK ONLY.

3.)	NO SUPPLEMENTARY SHEET SHALL BE ALLOWED/ PROVIDED

4.)	The Student must write Q.P. Code in the space provided on the Title page of the Answer Book.

Section-A

1.	Write about the following. (All the five questions are compulsory)

[5x5=25]

a.	Reference Air Kerma

b.	Gray

c.	Radium milligram equivalent

d.	Exposure rate constant.

e.	Cesium-137

2.	Attempt any one. Both questions carry equal marks.

a.	Discuss the physical principles & techniques of brachytherapy.		[15]

OR

b.	Discuss in detail & compare the physical characteristics of radioisotopes used for brachytherapy.								[15]

Section -B

3.	Write about the following. (All the five questions are compulsory)

[5x5=25]

a.	Radiation Tolerance dose of Urinary bladder

b.	Point A

c.	Lymphatic trapezoid

d.	Inverse square law

e.	Pre loaded applicators for brachytherapy

4.	Attempt any one. Both questions carry equal marks.

a.	Discuss the dosimetry systems of intracavitary brachytherapy for carcinoma cervix.									 	 [15]

OR

b.	Discuss in detail high dose rate brachytherapy. What are its advantages as compared with low dose rate brachytherapy.				 	  [15]

---------------------

QP Code: BRT302

B. Sc Radiotherapy Technology 3rd Year

# (BF/2022/10)

#### Radiation Dosimetry Principles & Applications

###### M.M.: 80								      Time: 3 Hours

Note:	1.)	Attempt all questions.

2.)	ATTEMPT BOTH PARTS IN SINGLE ANSWER BOOK ONLY.

3.)	NO SUPPLEMENTARY SHEET SHALL BE ALLOWED/ PROVIDED

4.)	The Student must write Q.P. Code in the space provided on the Title page of the Answer Book.

Section-A

1.	Write about the following. (All the five questions are compulsory)

[5x5=25]

a.	Monitoring detectors of Alpha particles

b.	Ionization chamber sensitivity

c.	Polarity effect

d.	Roentgen

e.	Solid state methods

2.	Attempt any one. Both questions carry equal marks.

a.	Explain Radiation Dosimetry and characteristic features of Dosimeter.	[15]

OR

b.	Explain KERMA and various dose calibration parameters in Radiation Dosimetery.									[15]

Section -B

3.	Write about the following. (All the five questions are compulsory)

[5x5=25]

a.	TLD film dosimetry

b.	Calorimetry

c.	GM counter resolving time

d.	Proportional region

e.	Ion chambers

4.	Attempt any one. Both questions carry equal marks.

a.	Explain methods construction and working of plane parallel chambers and their use in Dosimetry of photon and electron beam calibration.			[15]

OR

b.	Discuss principles used for gamma and X ray monitoring.			[15]

---------------------

QP Code: BRT303

B. Sc Radiotherapy Technology 3rd Year

# (BF/2022/10)

#### Recent Advances in Radiotherapy Techniques

###### M.M.: 80								      Time: 3 Hours

Note:	1.)	Attempt all questions.

2.)	ATTEMPT BOTH PARTS IN SINGLE ANSWER BOOK ONLY.

3.)	NO SUPPLEMENTARY SHEET SHALL BE ALLOWED/ PROVIDED

4.)	The Student must write Q.P. Code in the space provided on the Title page of the Answer Book.

Section-A

1.	Write about the following. (All the five questions are compulsory)

[5x5=25]

a.	Advantages and Disadvantages of IMRT

b.	Differences between HDR & LDR

c.	Electron therapy

d.	IGRT

e.	Treatment planning system (TPS).

2.	Attempt any one. Both questions carry equal marks.

a.	What is Linear Accelerator? How it is used in Radiotherapy and also draw a neat and clean diagram of Linear Accelerator?				[15]

OR

b.	What is the Gamma knife procedure and when it is used.			[15]

Section -B

3.	Write about the following. (All the five questions are compulsory)

[5x5=25]

a.	IMRT

b.	Cyber knife

c.	X-knife

d.	Inverse planning

e.	Working of MLC and its full form.

4.	Attempt any one. Both questions carry equal marks.

a.	Describe the Q.A Procedures of MLC and MMLC.				[15]

OR

b.	Describe the Q.A Procedures of TPS and x-knife units.			[15]

---------------------

QP Code: BRT304

B. Sc Radiotherapy Technology 3rd Year

# (BF/2022/10)

#### Radiation Protection and Monitoring

###### M.M.: 80								      Time: 3 Hours

Note:	1.)	Attempt all questions.

2.)	ATTEMPT BOTH PARTS IN SINGLE ANSWER BOOK ONLY.

3.)	NO SUPPLEMENTARY SHEET SHALL BE ALLOWED/ PROVIDED

4.)	The Student must write Q.P. Code in the space provided on the Title page of the Answer Book.

Section-A

1.	Write about the following. (All the five questions are compulsory)

[5x5=25]

a.	Radiation weighting factor

b.	Committed effective dose

c.	Negligible individual dose

d.	Radiation effects in-utero

e.	Thermoluminescent dosimeter

2.	Attempt any one. Both questions carry equal marks.

a.	Explain the Quality Assurance procedures for installation and maintenance of linear accelerator.							 	 [15]

OR

b.	Enumerate the equipment used for the radiation protection survey of a tele-cobalt installation and briefly explain the methodology.			 [15]

Section -B

3.	Write about the following. (All the five questions are compulsory)

[5x5=25]

a.	Absorbed dose

b.	Recommended dose limits for emergency occupational exposure

c.	Natural radiation sources

d.	GM type survey meters

e.	Background radiation

4.	Attempt any one. Both questions carry equal marks.

a.	Explain protective barrier design. Enumerate and explain the factors governing the attenuation required?							 [15]

OR

b.	Explain the emergency procedures required to deal with radiation accident in a tele-therapy complex.								 [15]

---------------------