QP Code: MMH201

M. Sc Medical Lab Technology (Histopathology)

# Paper-I

(BF/2022/10)

#### Basic Histological Techniques

###### M.M.: 80								      Time: 3 Hours

Note:	1.)	Attempt all questions.

2.)	ATTEMPT BOTH PARTS IN SINGLE ANSWER BOOK ONLY.

3.)	NO SUPPLEMENTARY SHEET SHALL BE ALLOWED/ PROVIDED

4.)	The Student must write Q.P. Code in the space provided on the Title page of the Answer Book.

5.)	Illustrate answer with suitable schematic diagrams.

Section-A		                   	         [40]

1.	What are ideal personal hygiene practices in histology laboratory?		[5]

2.	Discuss the methods of disposal of biohazardous waste.			[5]

3.	Ideal fixative for electron microscopy.					[5]

4.	Role of condenser in light microscopy.					[5]

5.	Write the principle of phase contrast microscopy.				[5]

6.	Draw a well labeled diagram microscopic findings of brain tissue.		[5]

7.	Describe the process of fixation of bone tumour specimen.			[5]

8.	Effects of improper fixation on morphology of tissues.			[5]

Section-B		                   	         [40]

1.	Enumerate the advantages of manual tissue processing.			[5]

2.	Write the advantages of automated tissue processing.			[5]

3.	How to ensure quality control of paraffin wax?				[5]

4.	Artefacts produced due to defective dehydration process.			[5]

5.	Plastic embedding media.							[5]

6.	Describe the process to identify end point of decalcification process.	[5]

7.	Describe the process of maintenance of rotary microtome.			[5]

8.	Difficulties encountered in obtaining thin sections.				[5]

---------------------

QP Code: MMH202

M. Sc Medical Lab Technology (Histopathology)

# Paper-II

(BF/2022/10)

#### Special Histological Techniques

###### M.M.: 80								      Time: 3 Hours

Note:	1.)	Attempt all questions.

2.)	ATTEMPT BOTH PARTS IN SINGLE ANSWER BOOK ONLY.

3.)	NO SUPPLEMENTARY SHEET SHALL BE ALLOWED/ PROVIDED

4.)	The Student must write Q.P. Code in the space provided on the Title page of the Answer Book.

5.)	Illustrate answer with suitable schematic diagrams.

Section-A		                   	       		  [40]

1.	Rotary microtomes-Advantages and Disadvantages.				[5]

2.	What is the principle of progressive staining with its examples?			[5]

3.	Basic properties of ideal cleaning agents.						[5]

4.	Special stains for carbohydrates.						 	[5]

5.	Labeling of specimens for museum.							[5]

6.	Hematoxylin-Types with advantages and disadvantages.				[5]

7.	Clark’s fluid and its uses.								[5]

8.	Frozen section and their uses.								[5]

Section-B		                   	       		  [40]

1.	Mounting of specimen for museum.							[5]

2.	Methods of photomicrography in histopathology with their advantages and disadvantages										[5]

3.	Use of microwave in histology.							[5]

4.	Osmium tetraoxide and its uses.							[5]

5.	Formalin as fixative-advantages and disadvantages.					[5]

6.	Gross processing of intestine.								[5]

7.	Different methods of decalcification of tissue.					[5]

8.	Fixation of tissue for electron microscopy and immunehistochemistry study.	[5]

---------------------

QP Code: MMH203

M. Sc Medical Lab Technology (Histopathology)

# Paper-III

(BF/2022/10)

#### Basic and advance Histological Techniques

###### M.M.: 80								      Time: 3 Hours

Note:	1.)	Attempt all questions.

2.)	ATTEMPT BOTH PARTS IN SINGLE ANSWER BOOK ONLY.

3.)	NO SUPPLEMENTARY SHEET SHALL BE ALLOWED/ PROVIDED

4.)	The Student must write Q.P. Code in the space provided on the Title page of the Answer Book.

5.)	Illustrate answer with suitable schematic diagrams.

Section-A		                   	         [40]

1.	Principle of polarizing microscope.						[5]

2.	Steps of processing and embedding of eyeball.				[5]

3.	Histological features of malignant tumors.					[5]

4.	Mucicarmine stain.								[5]

5.	Principle of autoradiography.							[5]

6.	Principle of fluorescence microscopy.					[5]

7.	Histological features of tuberculous granuloma.				[5]

8.	Clearing agents.								[5]

Section-B		                   	         [40]

1.	Indications of frozen section.							[5]

2.	Isotopes used in autoradiography.						[5]

3.	Principle of incinerator.							[5]

4.	Steps in developing of microphotographs.					[5]

5.	AFB stain for M.leprae.							[5]

6.	Histopahtological features of leiomyoma.	 				[5]

7.	Advantages of microwave processing of tissues.				[5]

8.	Preparation f blocks for electron microscopy.				[5]

---------------------

QP Code: MMH204

M. Sc Medical Lab Technology (Histopathology)

# Paper-IV

(BF/2022/10)

#### Special Histological Techniques including immune Histochemistry and Molecular Pathology

###### M.M.: 80								      Time: 3 Hours

Note:	1.)	Attempt all questions.

2.)	ATTEMPT BOTH PARTS IN SINGLE ANSWER BOOK ONLY.

3.)	NO SUPPLEMENTARY SHEET SHALL BE ALLOWED/ PROVIDED

4.)	The Student must write Q.P. Code in the space provided on the Title page of the Answer Book.

5.)	Illustrate answer with suitable schematic diagrams.

Section-A		                   	         [40]

1.	Freeze drying.									[5]

2.	Preparation of cryostat sections.						[5]

3.	Histochemistry technique for demonstration of cyto plasmic organelle.	[5]

4.	FITC technique.								[5]

5.	External quality assessment.							[5]

6.	Applications of electrophoresis.						[5]

7.	Preparation of flow cytometry.						[5]

8.	Histochemistry for Glial Fibers.						[5]

Section-B		                   	         [40]

1.	Technique for image analysis.						[5]

2.	Preparation of In-situ hybridization.						[5]

3.	Probes.										[5]

4.	Principle of PCR.								[5]

5.	Special staining technique for melanin.					[5]

6.	Demonstration of esterase enzyme.						[5]

7.	Preparation of conjugate.							[5]

8.	Histochemistry of Amyloid.							[5]

---------------------