QP Code: NMS201

M. Sc Nuclear Medicine Technology 2nd Semester

(BF/2022/10)

Radiation Detection and Measurement

###### M.M.: 80								      Time: 3 Hours

Note:	1.)	Attempt all questions.

2.)	ATTEMPT BOTH PARTS IN SINGLE ANSWER BOOK ONLY.

3.)	NO SUPPLEMENTARY SHEET SHALL BE ALLOWED/ PROVIDED

4.)	The Student must write Q.P. Code in the space provided on the Title page of the Answer Book.

Section-A				Marks= 40

1.	Write notes on different types of scintillation detectors.				[10]

OR

Write note on personnel monitoring devices.

2.	Write short notes on applications of whole body counters.			 	[5]

3.	Write short notes on application of Poisson statistics.				[5]

4.	Write short notes on statistical accuracy in double isotope technique.		[5]

5.	Write short notes on the Geiger-Muller counter.					[5]

6.	Write short notes on Semi-conductor detectors.					[5]

7.	Write short notes on quenching and quenching correction methods in liquid scintillation counters.										[5]

Section-B				Marks= 40

1.	Write notes on gas filled detector.							[10]

OR

Draw a schematic diagram of a gamma well counter and explain its principle of operation.

2.	Write short notes on minimum detectable limit of a radiation detector.		[5]

3.	Write short notes on portable and fixed area monitors.				[5]

4.	Discuss OSLD badge reader.								[5]

5.	Write short notes on Liquid scintillation counters.					[5]

6.	Write short notes statistical error in radioactivity counting.				[5]

7.	Write short notes on contamination monitoring instruments.				[5]

---------------------

QP Code: NMS202

M. Sc Nuclear Medicine Technology 2nd Semester

(BF/2022/10)

Basic concepts of Electronics Biomedical Instruments and Techniques

###### M.M.: 80								      Time: 3 Hours

Note:	1.)	Attempt all questions.

2.)	ATTEMPT BOTH PARTS IN SINGLE ANSWER BOOK ONLY.

3.)	NO SUPPLEMENTARY SHEET SHALL BE ALLOWED/ PROVIDED

4.)	The Student must write Q.P. Code in the space provided on the Title page of the Answer Book.

Section-A				Marks= 40

1.	Explain in detail principle of absorption spectroscopy and its application.		[10]

OR

Explain the basic principle and components of PM tubes.				[10]

2.	Explain the role scaler and timer in spectroscopy.					[5]

3.	Explain the difference between forward and reverse bias transistors.		[5]

4.	Explain the use of ultrasound in dynamics of blood flow.				[5]

5.	What is difference OR and AND gate?						[5]

6.	What are biological capacitors and its application?					[5]

7.	What is the difference between Pontermetric and magnetoresistive transducers?	[5]

Section-B				Marks= 40

1.	Explain in X ray film development and characteristics curves.			[10]

OR

Explain in interaction of LASER with tissue.

2.	Explain in detail difference between single and mutual inducers.			[5]

3.	Explain in detail NMR spectrometer.							[5]

4.	Explain in detail Scan A, B and M in ultrasound.					[5]

5.	Explain in detail application of LASER in medicine.					[5]

6.	What is use of filter color, UV and Polaroid in x ray film?				[5]

7.	What is basic principle of ECG?							[5]

---------------------

QP Code: NMS203

M. Sc Nuclear Medicine Technology 2nd Semester

(BF/2022/10)

Applied Mathematics, Biostatistics and Computer Applications

###### M.M.: 80								      Time: 3 Hours

Note:	1.)	Attempt all questions.

2.)	ATTEMPT BOTH PARTS IN SINGLE ANSWER BOOK ONLY.

3.)	NO SUPPLEMENTARY SHEET SHALL BE ALLOWED/ PROVIDED

4.)	The Student must write Q.P. Code in the space provided on the Title page of the Answer Book.

Section-A				Marks= 40

1.	Evaluate   dx							 	[10]

OR

Integrate the following ∫ tan x dx and ∫ sec xdx

2.	Define Biostatistics.									[5]

3.	List frequency polygon from the following data.					[5]

| Score | 10-19 | 20-29 | 30-39 | 40-49 | 50-59 | 60-69 |
| --- | --- | --- | --- | --- | --- | --- |
| Frequency | 3 | 3 | 4 | 16 | 12 | 3 |

4.	Construct a histogram for the following data:					[5]

| Class Interval | Frequency |
| --- | --- |
| 0-5 | 3 |
| 5-10 | 6 |
| 10-15 | 11 |
| 15-20 | 13 |
| 20-25 | 7 |
| 25-30 | 4 |

5.	An observer gave 7 correct judgements in ten trials. The probability of a right judgement was  in each case, so that expected number of correct judgement was 5. Test the null hypothesis by computing Chi-square.							[5]

6.	What are the uses of ANOVA?							[5]

7.	How to identify the computer system has been attacked by virus?			[5]

Section-B				Marks= 40

1.	Differentiate and describe the different types of probability and non-probability sampling.										[10]

OR

Define-Vector, matrix, adjoint matrix.

2.	Write difference between classification and tabulation of data with the help of example.											[5]

3.	List the measurements scale with the help of example.

4.	Differentiate between parametric and non parametric tests.				[5]

5.	Describe the difference between clinical study design and clinical trial.		[5]

6.	Find coefficient of correlation between X and Y scores.				[5]

| X | 15 | 18 | 30 | 27 | 25 | 23 | 30 |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Y | 7 | 10 | 17 | 16 | 12 | 13 | 9 |

7.	Explain the applications of computer.						[5]

---------------------

QP Code: NMS204

M. Sc Nuclear Medicine Technology 2nd Semester

(BF/2022/10)

Radioisotope Application and Radiation Safety

###### M.M.: 80								      Time: 3 Hours

Note:	1.)	Attempt all questions.

2.)	ATTEMPT BOTH PARTS IN SINGLE ANSWER BOOK ONLY.

3.)	NO SUPPLEMENTARY SHEET SHALL BE ALLOWED/ PROVIDED

4.)	The Student must write Q.P. Code in the space provided on the Title page of the Answer Book.

Section-A				Marks= 40

1.	What is the use of P-32 in therapeutic Nuclear Medicine? Describe in detail.	[10]

OR

Describe the various transport index in detail used to transport radioisotopes.

2.	Describe the Thyroid uptake studies.							[5]

3.	What is the Role of Alpha emitters in Nuclear Medicine.				[5]

4.	Role of Radionuclide Myocardial perfusion imaging.				[5]

5.	Describe the principles of Immune Radiometric Assay.				[5]

6.	What is the use of Ga-67 in Nuclear Medicine?					[5]

7.	Role of Cr-51 in Nuclear Medicine & its uses.					[5]

Section-B				Marks= 40

1.	There is a spillage of P-32 in your Nuclear Medicine Department. What procedures will you be doing to control the same. What are the protocols for the same?		[10]

OR

What are the peaceful uses of radioisotopes for the earth & its inhabitants?

2.	What is the plasma Iron clearance?							[5]

3.	What are the in-vivo tests in Nuclear Medicine?					[5]

4.	What is the protocol & procedures to be done if a patient is administered a wrong radioisotope?										[5]

5.	Tumour imaging.									[5]

6.	Splenic sequestration studies.								[5]

7.	Brain imaging.										[5]

---------------------