M. Sc Nuclear Medicine Technology 1st Year

(BF/2021/09)

Basic concepts of Anatomy & Physiology

###### M.M.: 80								      Time: 3 Hours

Note:	1.)	Attempt 08 Questions of section A.  Attempt all questions Section B

2.)	USE SEPARATE ANSWER BOOK FOR EACH PART.

3.)	The Student must write Q.P. Code in the space provided on the Title page of the respective Answer Book.

QP Code: MNM101 		Section-A (Anatomy)		Marks= 40

Write about the following:

1.	Write about pseudostratified epithelium. Name structures lined by this.	[5]

2.	Describe how myelination takes place.					[5]

3.	Write about position of diaphragm in different postures i.e lying, sitting & standing.											[5]

4.	Muscles supplied by hypoglossal nerve.					[5]

5.	Write about cervical vertebrae & structure passing through foramen transversarium.

6.	Name movements possible at wrist joint.					[5]

7.	Muscles supplied by Common Peroneal Nerve and effects of its injury.	[5]

8.	Write about position of kidneys in body & its blood supply.			[5]

QP Code: MNM102		Section -B (Physiology)			Marks= 40

Write about the following:

1.	Describe composition and functions of Salivary secretion.			[5]

2.	Describe concentration and dilution mechanism of urine.			[5]

3.	Describe functions of cerebellum.						[5]

4.	Describe regulation of cardiac output.					[5]

5.	Describe deficiency of thyroid hormone in adult.				[5]

6.	Describe chemical regulation of respiration.					 [5]

7.	Describe hormonal regulation of spermatogenesis.				[5]

8.	Describe functions of Aldosterone.						[5]

---------------------

QP Code: MNM103

M. Sc Nuclear Medicine Technology 1st Year

(BF/2021/09)

Applied Mathematics, Biostatistics and Computer Applications

###### M.M.: 80								      Time: 3 Hours

Note:	1.)	Attempt all questions.

2.)	ATTEMPT BOTH PARTS IN SINGLE ANSWER BOOK ONLY.

3.)	NO SUPPLEMENTARY SHEET SHALL BE ALLOWED/ PROVIDED

4.)	The Student must write Q.P. Code in the space provided on the Title page of the Answer Book.

Section-A				Marks= 40

Write about the following:

1.	Define statistic and sampling variation.					[5]

2.	Define merits and demerits of median.					[5]

3.	Define coefficient of variation and explain its uses.				[5]

4.	Describe Type-1 and Type-2 errors in hypothesis testing.			[5]

5.	Describe the interpretation of standard error.					[5]

6.	Describe the property of standard normal distribution.			[5]

7.	Define conditional probability.						[5]

8.	Define the following.								[5]

a) Additional law of probability

b) Multiplication law of probability

Section-A				Marks= 40

Write about the following:

1.	In a study on 100 participations, 20 of them found to be hypertensive. Compute 95 % confidence interval for the prevalence of hypertension			[5]

2.	In a study on 100 participates mean (SD) of systolic blood pressure was found to be 120 (20). Compute standard error of the mean systolic blood pressure. 		[5]

3.	Describe cluster random sampling.						 [5]

4.	What are the benefits of randomization in a clinical trial comparing two drugs?											[5]

5.	What are the advantages of double blind randomized control trial.		[5]

6.	Write a program in C to find out area of a circle having radius r.		[5]

7.	Write a program in C to find out first ten numbers divisible by three.	[5]

8.	Write a program in C to find out mean of first ten odd numbers.		[5]

---------------------

QP Code: MNM104

M. Sc Nuclear Medicine Technology 1st Year

(BF/2021/09)

Radiation Physics, Radiation Detection and Measurements

###### M.M.: 80								      Time: 3 Hours

Note:	1.)	Attempt all questions.

2.)	ATTEMPT BOTH PARTS IN SINGLE ANSWER BOOK ONLY.

3.)	NO SUPPLEMENTARY SHEET SHALL BE ALLOWED/ PROVIDED

4.)	The Student must write Q.P. Code in the space provided on the Title page of the Answer Book.

Section-A				Marks= 40

Write about the following:

1.	Define physical, biological and effective half life and the relation between them.

[5]

2.	Explain alpha and beta decay with example.					[5]

3.	Describe decay factor and decay constant.					[5]

4.	What do you mean by secular and treatment equilibrium			[5]

5.	Explain the working of a Nuclear Reactor.					[5]

6.	What is the particle accelerator explain with example.			[5]

7.	Write short notes on: 								[5]

a Compton effect

b Photoelectric effect.

8.	What do you mean by Annihilation radiation?				[5]

Section-B				Marks= 40

Write about the following:

1.	What is attenuation coefficient and how it is used.				[5]

2.	Define linear energy transfer.							[5]

3.	What is Bremsstrahlung radiation?						[5]

4.	What are Thermal Neutrons and where are they used.			[5]

5.	Describe bragg-curve.								[5]

6.	Write short notes on:								[5]

a. Radiation absorbed dose

b. Effective dose

7.	Briefly describe Ionisation chamber with on example.			[5]

8.	Write short notes on:								[5]

a. Quenching

b. Well counter

-------------------

QP Code: MNM105

M. Sc Nuclear Medicine Technology 1st Year

(BF/2021/09)

Radiation Biology, Molecular and Cancer Biology

###### M.M.: 80								      Time: 3 Hours

Note:	1.)	Attempt all questions.

2.)	ATTEMPT BOTH PARTS IN SINGLE ANSWER BOOK ONLY.

3.)	NO SUPPLEMENTARY SHEET SHALL BE ALLOWED/ PROVIDED

4.)	The Student must write Q.P. Code in the space provided on the Title page of the Answer Book.

Section-A				Marks= 40

Write about the following:

1.	Discuss the radiolysis of water.						[5]

2.	Effect of radiation of chromosome.						[5]

3.	Write down in brief multi target multi hit theory.				[5]

4.	What is the effect of radiation on blood?					[5]

5.	Explain acute radiation syndrome.						[5]

6.	Relative biological effectiveness						[5]

7.	Write down in brief schilling test.						[5]

8.	Describe in brief urea breath test.						[5]

Section-B				Marks= 40

Write about the following:

1.	Describe in brief Biological factor influencing radiation response.		[5]

2.	Biological applications of various isotopes of Cobalt.			[5]

3.	Describe in brief cancer cell differentiation.					[5]

4.	Discuss repair of DNA.							[5]

5.	What is cell mediated immune response?					[5]

6.	Describe in brief structure of antibody.				 	[5]

7.	Effect of radiation in endocrine system.					[5]

8.	Enumerate potential clinical application of stem cells.			[5]

--------------------

M. Sc Nuclear Medicine Technology 1st Year

(BF/2021/09)

Fundamental of Electronics and Biomedical Instruments

###### M.M.: 80								      Time: 3 Hours

Note:	1.)	Attempt all question of section A. Attempt eight  question of section B

2.)	USE SEPARATE ANSWER BOOK FOR EACH PART.

3.)	The Student must write Q.P. Code in the space provided on the Title page of the respective Answer Book.

QP Code: MNM106			(Section-A)				Marks= 40

Write about the following:

1.	What is MOSFET and explain working principle of depletion MOSFET.		[5]

2.	What are converters? Explain weighted-registered digital-to analog converter.	[5]

3.	Draw and explain shift registers.							[5]

4.	Explain ring counter with timing diagram.						[5]

5.	Describe the function of an OP-AMP as (i) and inverter (ii) a scale changer (iii) an adder.											[5]

6.	Describe a clocked R-S flip flop. How does the trigger pulse controls the change of the state of flip flop.									[5]

7.	How is an FET used as a voltage-variable resistance?				[5]

8.	Give the block of microprocessor and name different parts.				[5]

QP Code: MNM107			(Section –B) 				Marks= 40

Attempt any eight questions:

1.	Advantage of DR Vs conventional radiography.				 	[5]

2.	Why grids are used in radiography.							[5]

3.	Multiple crystal scintillation camera.							[5]

4.	Recent advances in CT tube designs.							[5]

5.	4-D ultrasounds									[5]

6.	Triplex ultrasound.									[5]

7.	Safety precautions taken before MRI.						[5]

8.	What are different spin echo techniques?						[5]

--------------------

QP Code: MNM108

M. Sc Nuclear Medicine Technology 1st Year

(BF/2021/09)

Radioisotope Applications and Radiation Safety

###### M.M.: 80								      Time: 3 Hours

Note:	1.)	Attempt all questions.

2.)	ATTEMPT BOTH PARTS IN SINGLE ANSWER BOOK ONLY.

3.)	NO SUPPLEMENTARY SHEET SHALL BE ALLOWED/ PROVIDED

4.)	The Student must write Q.P. Code in the space provided on the Title page of the Answer Book.

Section-A				Marks= 40

Write about the following:

1.	How will you decontaminate clothes?					[5]

2.	Define radioactive waste with examples.					[5]

3.	What are the factors that influence GSD?					[5]

4.	How will you manage radioactive spill?					[5]

5.	Design the layout plan of a radioisotope laboratory.				[5]

6.	How will you decontaminate person.						[5]

7.	What is doubling dose and what is its value for humans.			[5]

8.	What are the different types of tests performed to check the ability of the radioactive packages?									[5]

Section-B				Marks= 40

Write about the following:

1.	Explain the clinical utility of perchlorate discharge test.			[5]

2.	Describe the method to calculate 131I therapeutic dose for toxic nodular goiter with high turn-over.									[5]

3.	Write the steps to perform three phase 99mTc- MDP Bone scan.		[5]

4.	Describe the role of 67Ga in pulmonary infections.				[5]

5.	 Write the indications for performing bone pain palliation.			[5]

6.	Compare the physical characteristics of thallium & technitium labeled radiopharmaceuticals.								[5]

7.	Write short note on 153-sm-EDTMP therapy.				[5]

8.	Write the indications for terminating a stress test in myocardial perfusion imaging.										[5]

--------------------