QP Code: NMS401

M. Sc Nuclear Medicine Technology 4th Semester

(BF/2023/10)

Basic Concepts of Radiobiological Protection & Dosimetry

###### M.M.: 80								      Time: 3 Hours

Note:	1.)	Attempt all questions.

2.)	ATTEMPT BOTH PARTS IN SINGLE ANSWER BOOK ONLY.

3.)	NO SUPPLEMENTARY SHEET SHALL BE ALLOWED/ PROVIDED

4.)	The Student must write Q.P. Code in the space provided on the Title page of the Answer Book.

Section-A				  Marks= 40

1. Write short notes on any 4 of the following: 					[2.5x4=10]

- a) Dose calibrator

- b) Area zone monitor

- c) Transport index

- d) Radioactive waste disposal

- e) Dose limits

OR

Mention measures to be undertaken in case of a radioactive spillage.			[10]

2. Differentiate between linear and mass attenuation co-efficient.				[5]

3. Name and explain the different units of radiation measurement.				[5]

4. Differentiate between equivalent dose, effective dose and collective dose.		[5]

5. What are the responsibilities of a Licensees in a Nuclear Medicine facility?		[5]

6. Explain the different categories of radioactive materials. 					[5]

7. What is Radiation Emergency? How radiation emergency conditions should be handled? 												[5]

Section-B				Marks= 40

1. What are the instructions that should be given to the patients administered with therapy dosage?											[10]

OR

Discuss the concerns associated with alpha particle therapy.			 	[10]

2. What are the precautions and radiation safety measures in 131I-mIBG therapy in childhood neuroblastoma?									 	[5]

3. What is radiation safety committee and its role in a Nuclear Medicine Facility?		[5]

4. Briefly explain the concept of time, distance and shielding in radiation protection.	[5]

5. Explain Radiation safety measures in a lactating patient needing Nuclear Medicine scans. 												[5]

6. Explain parameters required for calculating administered activity in patients with Graves disease.											[5]

7. What are stochastic and deterministic effects?						[5]

---------------------

QP Code: NMS402

M. Sc Nuclear Medicine Technology 4th Semester

(BF/2023/10)

Basic of PET-CT Instrumentation & Medical Cyclotron/ Allied Instrumentation

###### M.M.: 80								      Time: 3 Hours

Note:	1.)	Attempt all questions.

2.)	ATTEMPT BOTH PARTS IN SINGLE ANSWER BOOK ONLY.

3.)	NO SUPPLEMENTARY SHEET SHALL BE ALLOWED/ PROVIDED

4.)	The Student must write Q.P. Code in the space provided on the Title page of the Answer Book.

Section-A				           Marks= 40

1.	Write notes on factors affecting spatial resolution of PET scanner.			[10]

OR

Discuss the challenges related to medical application of telemedicine.		[10]

2.	Write short note on types of cyclotrons.						[5]

3.	Write a note on cyclotron produced radionuclide.					[5]

4.	Write notes on NECR as a performance characteristics of PET scanner.		[5]

5.	Write notes x-ray tube of CT.								[5]

6.	Write short notes on PACS.								[5]

7.	Write short note on Standardized uptake value.					[5]

Section-B					Marks= 40

- Enumerate the differences between PET/CT and PET/MR.				[10]

OR

Discuss the technical challenges in the integration of PET/MR scanner.

2.	Write the applications of SPECT/CT fusion imaging in Nuclear Medicine.		[5]

3.	Write a note on CZT detectors used for cardiac imaging.				[5]

4.	Discuss artifacts noticed in PET/CT imaging.					[5]

5.	Write a short note on scatter correction in PET/CT.					[5]

6.	Write a short note on Kinetic modeling.						[5]

7.	Write notes on possible sources of artifacts for CT based attenuation correction.	[5]

---------------------

QP Code: NMS403

M. Sc Nuclear Medicine Technology 4th Semester

(BF/2023/10)

Nuclear Medicine Imaging (PEC-CT) & 3

Radionuclide Therapy

###### M.M.: 80								      Time: 3 Hours

Note:	1.)	Attempt all questions.

2.)	ATTEMPT BOTH PARTS IN SINGLE ANSWER BOOK ONLY.

3.)	NO SUPPLEMENTARY SHEET SHALL BE ALLOWED/ PROVIDED

4.)	The Student must write Q.P. Code in the space provided on the Title page of the Answer Book.

Section-A				Marks= 40

1.	Describe the factors affecting the quantification of Standardized Uptake Value (SUV).											[10]

OR

Describe the various quantitative parameters used in PET/CT Studies.

2.	Explain the role of PET/CT in recurrence/re-staging in Oncology.			[5]

3.	Describe the need for image fusion in image guided radiotherapy and stereotactic surgeries.										[5]

4.	Write short note on Peptide Receptor Radionuclide Therapy.			[5]

5.	Write short note on the clinical application of PET/CT in oncology.		[5]

6.	Describe the patient preparation and acquisition protocol of F18 FDG PET/CT for Oncology patients.									[5]

7.	Write Radiation safety precautions to be followed during high dose Radioiodine therapy.											[5]

Section-B				Marks= 40

1.	Explain the incremental value of SPECT/CT over planner imaging in nuclear medicine.											[10]

OR

Describe the patient preparation and acquisition protocol of F18 FDG PET/CT for myocardial Viability.

2.	Write short notes on Radiation Safety Precautions to be followed during Iodine-131 MIBG therapy.								 	[5]

3.	Write short on Targeted Radionuclide Alpha therapy.				[5]

4.	Write short notes on patient preparation required for Peptide Receptor Radionuclide Therapy (PRRT).									[5]

5.	Describe the radiation safety precautions required during Peptide Receptor Radionuclide Therapy.										[5]

6.	What are the radiation safety instruments given to the Radioiodine therapy patient after release from hospital?									[5]

7.	Write short notes on use of F-18 FDG and NH3 for cardiac studies.			[5]

---------------------