QP Code: BNM301

B. Sc MRIT 3rd Year

# (BF/2023/04)

(New Scheme w.e.f. 2019 Admission)

#### Special Radiological Procedures including Pathology

###### M.M.: 80								      Time: 3 Hours

Note:	1.)	Attempt all questions.

2.)	ATTEMPT BOTH PARTS IN SINGLE ANSWER BOOK ONLY.

3.)	NO SUPPLEMENTARY SHEET SHALL BE ALLOWED/ PROVIDED

4.)	The Student must write Q.P. Code in the space provided on the Title page of the Answer Book.

Section-A

1.	Write about the following. (All the five questions are compulsory)												         [5x5=25]

a. Bronchography

b. Patient preparations for radiological special investigations

c. Ventriculography

d. RGU

e. Why Ba sulphate is used as an oral contrast

2.	Attempt any one. Both questions carry equal marks.

- Describe in detail about indications, contraindications, preparation of patient & procedure & for IVU.								[15]

OR

- Describe indication, contra indication, preparation of patients and procedure of Sialography.									 [15]

Section -B

3.	Write about the following. (All the five questions are compulsory)												        [5x5=25]

a. Spleno portovenography

b. Radiation protection

c. MRS

d. CT guided biopsy

e. Post care of any Interventional Procedures

4.	Attempt any one. Both questions carry equal marks.

a. Describe barium swallow procedure with its indication and contraindication, patient preparation & filming.							 	 [15]

OR

b. Briefly describe and classify different types of radiological contrast medium & also describe adverse reactions & its management.					  [15]

---------------------

QP Code: BNM302

B. Sc MRIT 3rd Year

# (BF/2023/04)

(New Scheme w.e.f. 2019 Admission)

#### Radiological equipment-Newer Imaging Modalities and Computers

###### M.M.: 80								      Time: 3 Hours

Note:	1.)	Attempt all questions.

2.)	ATTEMPT BOTH PARTS IN SINGLE ANSWER BOOK ONLY.

3.)	NO SUPPLEMENTARY SHEET SHALL BE ALLOWED/ PROVIDED

4.)	The Student must write Q.P. Code in the space provided on the Title page of the Answer Book.

Section-A

1.	Write about the following. (All the five questions are compulsory)												         [5x5=25]

a. Data transmission media

b. PACS

c. Magnetic disk

d. Applications of computers in radiology

e. Principle of CT

2.	Attempt any one. Both questions carry equal marks.

- Describe the principle of Doppler ultrasound. Describe its role in medicine.	[15]

OR

- Describe the technique of digital subtraction angiography and its applications.	[15]

Section -B

3.	Write about the following. (All the five questions are compulsory)												        [5x5=25]

a. Advantages of MRI over CT scan

b. Components of internet

c. Data communication

d. CR system

e. 3rd generation CT scan

4.	Attempt any one. Both questions carry equal marks.

a. Describe the principle of MRI imaging and MRI equipment.			[15]

OR

b. Describe the physics of CT imaging and the equipment used for image production.											 [15]

---------------------

QP Code: BNM303

B. Sc MRIT 3rd Year

# (BF/2023/04)

(New Scheme w.e.f. 2019 Admission)

#### Quality assurance and Quality Control

###### M.M.: 80								      Time: 3 Hours

Note:	1.)	Attempt all questions.

2.)	ATTEMPT BOTH PARTS IN SINGLE ANSWER BOOK ONLY.

3.)	NO SUPPLEMENTARY SHEET SHALL BE ALLOWED/ PROVIDED

4.)	The Student must write Q.P. Code in the space provided on the Title page of the Answer Book.

Section-A

1.	Write about the following. (All the five questions are compulsory)												         [5x5=25]

a. Focal spot size measurement

b. QA phantom

c. Grid alignment test

d. mAs linearity test

e. CT dose index

2.	Attempt any one. Both questions carry equal marks.

- Describe the quality control procedures of CT.					[15]

OR

- Explain the processes of quality assurance procedures of automatic film processors.											 [15]

Section -B

3.	Write about the following. (All the five questions are compulsory)												        [5x5=25]

a. Screen film cassette speed matching

b. Exposure switch

c. KVP meter

d. Linear attenuation co-efficient

e. Radiation Safety Officer (RSO)

4.	Attempt any one. Both questions carry equal marks.

a. Explain in detail Thermo Luminescent Dosimeter (TLD) with diagram and also mention the advantages over film badge.						  [15]

OR

b. Describe in detail periodic QA schedule for radiology department.	  [15]

---------------------

QP Code: BNM304

B. Sc MRIT 3rd Year

# (BF/2023/04)

(New Scheme w.e.f. 2019 Admission)

#### Hospital Practice and care of the patient

###### M.M.: 80								      Time: 3 Hours

Note:	1.)	Attempt all questions.

2.)	ATTEMPT BOTH PARTS IN SINGLE ANSWER BOOK ONLY.

3.)	NO SUPPLEMENTARY SHEET SHALL BE ALLOWED/ PROVIDED

4.)	The Student must write Q.P. Code in the space provided on the Title page of the Answer Book.

Section-A

1.	Write about the following. (All the five questions are compulsory)												         [5x5=25]

a. Minimum staff requirement and their responsibilities for running round the clock MRI facility.

b. Medico legal X-rays

c. Instructions to be given to members of clinical departments for smooth conduct of MRI examination.

d. Performing contrast enhanced MRI for a patient with HIV encephalitis.

e. First aid for electrical shock

2.	Attempt any one. Both questions carry equal marks.

- Emergency drug trolley.								[15]

OR

- Reducing transmission of Covid-19 in a hospital.				 [15]

Section -B

3.	Write about the following. (All the five questions are compulsory)												        [5x5=25]

a. Dealing with a non English specially patient

b. TLD badge

c. Patient consent for radiological procedures

d. Fire safety in radiology department

e. Autoclave

4.	Attempt any one. Both questions carry equal marks.

a. Biomedical waste disposal.		 						[15]

OR

b. Adverse effects of ionizing radiation.						 [15]

---------------------