QP Code: BRT203

B. Sc Radiotherapy Technology 2nd Year

# (BF/2023/04)

#### Radiotherapy Equipments & Quality Assurance Procedures-II

###### M.M.: 80								      Time: 3 Hours

Note:	1.)	Attempt all questions.

2.)	ATTEMPT BOTH PARTS IN SINGLE ANSWER BOOK ONLY.

3.)	NO SUPPLEMENTARY SHEET SHALL BE ALLOWED/ PROVIDED

4.)	The Student must write Q.P. Code in the space provided on the Title page of the Answer Book.

Section-A

1.	Write about the following. (All the five questions are compulsory)

[5x5=25]

a.	Cs-137 Brachy source

b.	Permanent implant

c.	Define point A&B

d.	Properties of brachytherapy source

e.	Application of DRR

2.	Attempt any one. Both questions carry equal marks.

a.	Describe manual Brachytherapy and procedures to prepare manual Brachy source. Highlight radiation hazards during manual Brachytherapy.		[15]

OR

b.	Describe quality tests procedure of Gamma knife.				[15]

Section –B

3.	Write about the following. (All the five questions are compulsory)

[5x5=25]

a.	Micro-multi leaf collimator

b.	Transport container

c.	Pulse dose rate (PDR)

d.	Treatment planning system

e.	HDR Ir-192 source

4.	Attempt any one. Both questions carry equal marks.

a.	Describe the principle of remote controlled after loading machine. Enumerate its advantages over manual after loading brachytherapy units.			[15]

OR

b.	Describe Cobalt-60 HDR remote controlled after loading units. Name intra cavitory applicators for Ca of cervix	.				 	[15]

---------------------