QP Code: NMS201

M. Sc Nuclear Medicine Technology 2nd Semester

(BF/2023/04)

Radiation Detection and Measurement

###### M.M.: 80								      Time: 3 Hours

Note:	1.)	Attempt all questions.

2.)	ATTEMPT BOTH PARTS IN SINGLE ANSWER BOOK ONLY.

3.)	NO SUPPLEMENTARY SHEET SHALL BE ALLOWED/ PROVIDED

4.)	The Student must write Q.P. Code in the space provided on the Title page of the Answer Book.

Section-A				Marks= 40

1.	Write notes on principal of radiation detection and type of detectors.		[10]

OR

Write notes on operation and design consideration of an ionization chamber.

2.	Write short notes on statistical aspects of gamma ray and beta ray counting. 	[5]

3.	Write short notes on basic principles of neutron detectors.				[5]

4.	Write short notes on composition of liquid scintillator.				[5]

5.	Write short notes on time distribution between background and sample counting.	[5]

6.	Write short notes on digital Pocket dosimeter.					[5]

7.	Write short notes on beta-gamma zone monitor.					[5]

Section-B				Marks= 40

1.	Write notes on calibration of radiation protection instruments.			[10]

OR

Write notes on organic and inorganic scintillation detectors.

2.	Write short notes on propagation of error related to counting statistics.		[5]

3.	Write short notes on pearson’s chi-square test.					[5]

4.	Enumerate various contamination monitoring instruments.				[5]

5.	Write short notes on proportional counters.						[5]

6.	Write short notes on principles of whole body counting.				[5]

7.	Write short notes on surface barrier detectors.					[5]

---------------------

QP Code: NMS202

M. Sc Nuclear Medicine Technology 2nd Semester

(BF/2023/04)

Basic concepts of Electronics Biomedical Instruments and Techniques

###### M.M.: 80								      Time: 3 Hours

Note:	1.)	Attempt all questions.

2.)	ATTEMPT BOTH PARTS IN SINGLE ANSWER BOOK ONLY.

3.)	NO SUPPLEMENTARY SHEET SHALL BE ALLOWED/ PROVIDED

4.)	The Student must write Q.P. Code in the space provided on the Title page of the Answer Book.

Section-A				Marks= 40

1.	Explain in details principles of Echocardiography and its applications?		[10]

OR

Explain the basic principle of MRI and what is relaxation times in MRI?		[10]

2.	Explain the basics of Multichannel analyzer?					[5]

3.	Explain the difference between thermo-resistors and thermistors?			[5]

4.	Explain the basic of doppler and its application?					[5]

5.	What is single and double emulsion films in X-ray?					[5]

6.	What is role of preamplifiers and amplifiers in spectroscopy?			[5]

7.	What is difference between NOR and NOT gate.					[5]

Section-B				Marks= 40

1.	Explain in mass spectroscopy and its application in medicine.			[10]

OR

Explain in detail gamma ray spectroscopy.						[10]

2.	Explain in detail physiological effect of ultrasound in therapy.			[5]

3.	Explain in detail cw NMR.								[5]

4.	Explain in detail inductive transducers.						[5]

5.	Explain in detail energy band in semiconductors.					[5]

6.	What is cross effect in X ray film?							[5]

7.	What are adverse effects of LASER?							[5]

---------------------

QP Code: NMS203

M. Sc Nuclear Medicine Technology 2nd Semester

(BF/2023/04)

Applied Mathematics, Biostatistics and Computer Applications

###### M.M.: 80								      Time: 3 Hours

Note:	1.)	Attempt all questions.

2.)	ATTEMPT BOTH PARTS IN SINGLE ANSWER BOOK ONLY.

3.)	NO SUPPLEMENTARY SHEET SHALL BE ALLOWED/ PROVIDED

4.)	The Student must write Q.P. Code in the space provided on the Title page of the Answer Book.

Section-A				Marks= 40

1.	Find sin x dx								 	[10]

OR

Integrate ∫ sec x dx and

2.	Describe any four limitations of statistical methods.					[5]

3.	Describe sampling and random sampling.						[5]

4.	Construct a histogram for the following data:					[5]

| Class Interval | Frequency |
| --- | --- |
| 0-5 | 3 |
| 5-10 | 6 |
| 10-15 | 11 |
| 15-20 | 13 |
| 20-25 | 7 |
| 25-30 | 4 |

5.	Find the standard deviation of the following numbers.				[5]

17, 16, 13, 12, 11, 9, 6

6.	Find the rank-differences correlation of the following.				[5]

| X | 10 | 8 | 6 | 4 | 2 |
| --- | --- | --- | --- | --- | --- |
| Y | 11 | 7 | 2 | 6 | 4 |

7.	Write the uses of SPSS package in statistical analysis of data.			[5]

Section-B				Marks= 40

1.	Integrate the following.								[10]

x dx and x dx

OR

Find  cos xdx

2.	Write the importance of biostatistics.							[5]

3.	Describe the method of formation of frequency distribution with the help of example.

[5]

4.	If you are tossing a single dice (one part of a pair of dice), what is the probability of rolling either a 2 or 6?									[5]

5.	Write difference between parametric and non parametric tests.			[5]

6.	Define the term confidence limits and degree of freedom.				[5]

7.	Write the meaning of input, processing unit and output in computer.		[5]

---------------------

QP Code: NMS204

M. Sc Nuclear Medicine Technology 2nd Semester

(BF/2023/04)

Radioisotope Application and Radiation Safety

###### M.M.: 80								      Time: 3 Hours

Note:	1.)	Attempt all questions.

2.)	ATTEMPT BOTH PARTS IN SINGLE ANSWER BOOK ONLY.

3.)	NO SUPPLEMENTARY SHEET SHALL BE ALLOWED/ PROVIDED

4.)	The Student must write Q.P. Code in the space provided on the Title page of the Answer Book.

Section-A				Marks= 40

1.	Describe in detail the Rile of I-131 in Nuclear Medicine in diagnosis & therapeutic Nuclear Medicine.									[10]

OR

What is the Role of F-18 FDG in Nuclear medicine? Describe in detail.

2.	Role of T1-201 in various studies of Nuclear Medicine.				[5]

3.	Describe the various phantoms & its use in Nuclear Medicine Department.		[5]

4.	What is Effective half life?								[5]

5.	What are the internal & external radiation hazards?					[5]

6.	Old & new units of radiation & exposure.						[5]

7.	Use of Lutetium-177 in Nuclear Medicine.						[5]

Section-B				Marks= 40

1.	What are the tracer techniques & the basic requirements for radiotracer investigations?											[10]

OR

What is Radionuclide pain palliation therapy? Describe in detail.

2.	What are the principles of radiation safety?						[5]

3.	Splenic sequestration study.				 				[5]

4.	T3 charcoal test.									[5]

5.	What is the role of gamma camera?							[5]

6.	What is the use of I-125 in Nuclear Medicine?					[5]

7.	How can we do infection imaging in Nuclear Medicine?				[5]

---------------------