QP Code: NMS301

M. Sc Nuclear Medicine Technology 3rd Semester

(BF/2023/04)

Nuclear Medicine Instrumentation

###### M.M.: 80								      Time: 3 Hours

Note:	1.)	Attempt all questions.

2.)	ATTEMPT BOTH PARTS IN SINGLE ANSWER BOOK ONLY.

3.)	NO SUPPLEMENTARY SHEET SHALL BE ALLOWED/ PROVIDED

4.)	The Student must write Q.P. Code in the space provided on the Title page of the Answer Book.

Section-A				Marks= 40

1.	Draw a block diagram of SPECT/CT system and explain the function of each block in brief.											[10]

OR

List the quality control tests for SPECT/CT system. Explain in one of them (quality control tests) which should be performed daily, mentioning its importance, acquisition and processing, and acceptability limits. 						[10]

2.	Explain with the help of iso-response curve of the field collimator why manufacture of thyroid uptake probe recommends to keep a fixed distance between the crystal face and neck of the patient.					 				[5]

3.	Write the importance of dose calibrator in nuclear medicine, and discuss one quality control test which is to be performed daily for Dose Calibrator.			[5]

4.	Write short notes on Analog to Digital Converter.					[5]

5.	Write short notes on Pin hole collimator.						[5]

6.	Write short notes on high purity germanium (HpGe) detector.			[5]

7.	Write short notes on Changes attenuation correction.				[5]

Section-B				Marks= 40

1.	Compare between the Filtered back projection and Ordered Subset Expectation Maximization technique for reconstructing image from projection dataset acquired at various angle around the patient.							[10]

OR

Write notes on artifacts in SPECT study.						[10]

2.	Write short notes on Position sensitive PMT.			 			[5]

3.	Write short notes on sensitivity of gamma camera.					[5]

4.	Write short notes on overall system performance of SPECT system with Jaszczak Phantom.										[5]

5.	Write short notes on energy correction map for gamma camera.			[5]

6.	Write a note on slant hole collimator.							[5]

7.	Write short note on choice of acquisition matrix in SPECT study.			[5]

---------------------

QP Code: NMS302

M. Sc Nuclear Medicine Technology 3rd Semester

(BF/2023/04)

Principles and Practice of Radio Pharmacy

###### M.M.: 80								      Time: 3 Hours

Note:	1.)	Attempt all questions.

2.)	ATTEMPT BOTH PARTS IN SINGLE ANSWER BOOK ONLY.

3.)	NO SUPPLEMENTARY SHEET SHALL BE ALLOWED/ PROVIDED

4.)	The Student must write Q.P. Code in the space provided on the Title page of the Answer Book.

Section-A				           Marks= 40

1.	Discuss the performance and quality control of 68 Ge-68 Ga generator.		[10]

OR

Discuss the principles of generator system and elucidate how this effects the elution timing.

2.	What is lyophilization and how it helps the radiopharmaceutical production in hospital radio pharmacy?									[5]

3.	What is specific activity? How it effects the radio labeling?				[5]

4.	How to produce denatured RBC? Enumerate the clinical applications of denatured RBC.											[5]

5.	Discuss currently available all PSMA radiopharmaceuticals that are used clinically. [5]

6.	Describe in detail the macrocyclic bifunctional chelating agents.			[5]

7.	Describe production of 99m Tc sulfur colloid in hospital radio pharmacy.		[5]

Section-B					Marks= 40

- Discuss the quality control procedures of 99m Tc-MDP.				[10]

OR

What are 99m Tc dependent and Independent radiopharmaceuticals? Give at least two examples from each.

2.	Discuss steps for the production of 68 Ga-DOTANOC.				[5]

3.	What is Moly breakthrough? How are you going to check for it?			[5]

4.	What is the meaning of the form “pharmacokinetics” of a radiopharmaceutical?	[5]

5.	Describe the production method of BNH3?						[5]

6.	What is the basic principle of chromatography & enumerate the types used in Nuclear Medicine.										[5]

7.	What is GMP and how it is useful in radio pharmacy?				[5]

---------------------

QP Code: NMS303

M. Sc Nuclear Medicine Technology 3rd Semester

(BF/2023/04)

Nuclear Medicine Imaging (SPECT-CT) & Non Imaging Techniques

###### M.M.: 80								      Time: 3 Hours

Note:	1.)	Attempt all questions.

2.)	ATTEMPT BOTH PARTS IN SINGLE ANSWER BOOK ONLY.

3.)	NO SUPPLEMENTARY SHEET SHALL BE ALLOWED/ PROVIDED

4.)	The Student must write Q.P. Code in the space provided on the Title page of the Answer Book.

Section-A				Marks= 40

1.	Write the indications, patient preparation, precautions, radiopharmaceutical, image acquisition and processing of Meckel’s scan.						[10]

OR

Write the indications, patient preparation, precautions, radiopharmaceutical, image acquisition and processing of Pertechnetate thyroid scan.

2.	What are the indications and procedure for bone scan?			 	[5]

3.	How will you perform a stress cardiac myocardial perfusion scan?			[5]

4.	Explain the indications and procedure of renal cortical scan.			[5]

5.	Write indications, patient preparation, image acquisition for 99m Tc MIBI parathyroid imaging.

6.	Write short note on the 131-Iodine whole body scan.				[5]

7.	Enumerate the brain tumor imaging SPECT-CT radiopharmaceuticals. How will you acquire the scan using any one of them?						[5]

Section-B				Marks= 40

1.	Write the indications, patient preparation, radiopharmaceutical, image acquisition and processing 131-iodine uptake study.							[10]

OR

Write the indications, patient preparation, precautions radiopharmaceuticals, image acquisition and processing of renal diuretic scan.

2.	Describe denatured RBC only.							[5]

3.	Write down the differences between the Sodium-iodine and CZT based gamma cameras.												[5]

4.	What are the indications for the Hepatobiliary scan?	 How will you perform scan for biliary atresia.										[5]

5.	Describe lymphoscintigraphy to evaluate lower limb edema.			[5]

6.	Write the indication, pharmaceuticals, procedure for sentinel’s lymph node study.	[5]

7.	How will you perform Post-high dose 177Lu-DOTANOC therapy scan.		[5]

---------------------