QP Code: NMS401

M. Sc Nuclear Medicine Technology 4th Semester

(BF/2023/04)

Basic Concepts of Radiobiological Protection & Dosimetry

###### M.M.: 80								      Time: 3 Hours

Note:	1.)	Attempt all questions.

2.)	ATTEMPT BOTH PARTS IN SINGLE ANSWER BOOK ONLY.

3.)	NO SUPPLEMENTARY SHEET SHALL BE ALLOWED/ PROVIDED

4.)	The Student must write Q.P. Code in the space provided on the Title page of the Answer Book.

Section-A				  Marks= 40

1. Write short notes on any 4 of the following: 					[2.5x4=10]

- a) Relative Biologic Effectiveness (RBE)

- b) Neutron Monitor

- c) Hand and Foot Monitor

- d) MIRD method of internal dose calculation

- e) Absorbed fraction

OR

Explain the principles of radiation protection. 						[10]

2. Explain Linear Energy Transfer with examples. 						[5]

3. Differentiate between radiation weighting factor and tissue weighting factor. 		[5]

4. Write the advantages and disadvantages of film badge and TLD badge. 			[5]

5. Differentiate between survey meter and contamination meter. 				[5]

6. What is misadministration of radiopharmaceutical? 					[5]

7. What are the roles of AERB towards radiation safety in Nuclear Medicine Facility? 	[5]

Section-B				Marks= 40

1. Describe the different types of gas filled detectors. 					[10]

OR

What are the responsibilities of a Radiation Safety Officer in a Nuclear Medicine? 	[10]

2. Radiation Safety measures in the case of an expired patient having received 131-I? 	[5]

3. Describe the setup of a radionuclide therapy ward with reference to space and location 	[5]

4. What is a delay tank? What is its use? 							[5]

5. Personnel radiation monitoring instruments 						[5]

6. Role of AERB in India? 									[5]

7. Explain HVL and TVL									[5]

---------------------

QP Code: NMS402

M. Sc Nuclear Medicine Technology 4th Semester

(BF/2023/04)

Basic of PET-CT Instrumentation & Medical Cyclotron/ Allied Instrumentation

###### M.M.: 80								      Time: 3 Hours

Note:	1.)	Attempt all questions.

2.)	ATTEMPT BOTH PARTS IN SINGLE ANSWER BOOK ONLY.

3.)	NO SUPPLEMENTARY SHEET SHALL BE ALLOWED/ PROVIDED

4.)	The Student must write Q.P. Code in the space provided on the Title page of the Answer Book.

Section-A				           Marks= 40

1.	Write notes on various scintillation detectors used in PET Scanners. What should be the ideal properties of PET Detectors?	 						[10]

OR

Discuss the daily quality control procedures used for the PET/CT scanner.		[10]

2.	Write notes on computing attenuation correction factors from CT scans.		[5]

3.	Describe the working principle of Medical Cyclotron.				[5]

4.	Write short note on DICOM.								[5]

5.	Write notes on Functional MRI.							[5]

6.	Write short note on Block detector used in PET/CT.					[5]

7.	Write different artifacts noticed in PET/CT imaging.				[5]

Section-B					Marks= 40

- Discuss principle, applications, and limitations of SPECT/CT.			[10]

OR

Discuss different components of the PET/MR with the help of schematic diagram.

2.	Write the applications of PET/CT fusion imaging in Nuclear Medicine.		[5]

3.	What are the advantages of MRI over CT and Ultrasound?				[5]

4.	Explain the different reconstruction algorithm used in PET.				[5]

5.	Write notes on the PET/MR Attenuation correction.					[5]

6.	Write short notes on PACS.								[5]

7.	Discuss Biomedical applications of Computed Tomography.			[5]

---------------------

QP Code: NMS403

M. Sc Nuclear Medicine Technology 4th Semester

(BF/2023/04)

Nuclear Medicine Imaging (PEC-CT) & 3

Radionuclide Therapy

###### M.M.: 80								      Time: 3 Hours

Note:	1.)	Attempt all questions.

2.)	ATTEMPT BOTH PARTS IN SINGLE ANSWER BOOK ONLY.

3.)	NO SUPPLEMENTARY SHEET SHALL BE ALLOWED/ PROVIDED

4.)	The Student must write Q.P. Code in the space provided on the Title page of the Answer Book.

Section-A				Marks= 40

1.	Describe the imaging artifacts in PET/CT imaging.					[10]

OR

Describe the various quantitative parameters in Renal dynamic studies and their significance.

2.	Role of SPECT/CT and PET/CT in recurrent brain tumours.			[5]

3.	PET/CT guided biopsy.								[5]

4.	Write short note on PRLT.								[5]

5.	Write short note on the clinical application of PET/MRI in oncology.		[5]

6.	Describe the patient preparation and acquisition protocol of Ga68-DOTA-NOC/TOC PET/CT for NET patients.								[5]

7.	Write radiation safety precautions to be followed during Lu177 therapy.		[5]

Section-B				Marks= 40

1.	Explain the incremental value of PET/MRI over PET/CT.				[10]

OR

Describe the patient preparation and acquisition protocol of F18 FDG PET/CT for myocardial sarcoidosis.

2.	Describe the patient preparation and acquisition protocol Iodine-131 MIBG diagnostic study.										 	[5]

3.	Write short note on Ac225 therapy.							[5]

4.	Write a short note on patient preparation for Radioiodine Therapy in thyroid cancer patients.										[5]

5.	Describe the radiation safety precautions required after administration of 200mCi of Radioiodine therapy.									[5]

6.	RAIU.											[5]

7.	Write short notes on PET/CT in Dementia.						[5]

---------------------