QP Code: NMS202

M. Sc Nuclear Medicine Technology 2nd Semester

(BF/2024/05)

Basic concepts of Electronics Biomedical Instruments and Techniques

###### M.M.: 80								      Time: 3 Hours

Note:	1.)	Attempt all questions.

2.)	ATTEMPT BOTH PARTS IN SINGLE ANSWER BOOK ONLY.

3.)	NO SUPPLEMENTARY SHEET SHALL BE ALLOWED/ PROVIDED

4.)	The Student must write Q.P. Code in the space provided on the Title page of the Answer Book.

Section-A				Marks= 40

1.	Define the terms “NMR spectra,” “chemical shift.” “longitudinal relaxation time (TI) and transverse relaxation time (T2).						[10]

OR

Describe the different types of lasers based on their operating medium.

2.	Explain the different waves and intervals seen in a normal ECG waveform.	[5]

3.	What is a mass spectrometer? Describe its principle of operation.			[5]

4.	Explain the different components of an AAS instrument, including the light source, monochromator, and detector.							[5]

5.	Describe the basic principle of MRI.							[5]

6.	What is the structure of an X-ray film? Describe the different layers and their functions.											[5]

7.	What are the potential adverse effects of ultrasound waves? How can they be minimized or prevented?										[5]

Section-B				Marks= 40

1.	Describe the process of doping in semiconductors? What is the role of dopants in creating n-type and p-type semiconductors?						[10]

OR

What is an analog-to digital converter (ADC). Explain how it works and give an example of an application								[10]

2.	Define analog and digital signals. Explain how they differ from each other.

3.	What is the difference between an AND gate and an OR gate?			[5]

4.	What is the difference between an AC power supply and a DC power supply.	[5]

5.	What is a capacitive transducer? Explain its operation and give an example of application										[5]

6.	Describe the working principle of a pulse height analyzer and its significance in radiation detection.									[5]

7.	What is the function of a preamplifier and amplifier in an electronic system?	[5]

---------------------